Tender Document

Caerphilly Town Council

Tender for the installation, removal, and storage of Christmas Lights

Introduction

Caerphilly Town Council organises the annual display of Christmas Lights in the town centre. The Christmas Lights are installed in early November ready for a switch on event which is normally on the third weekend in November, and this year will be held on the evening of Friday 20 November 2026. They are taken down and removed to storage the second week in January. This is a retender of a contract to comply with the Town Council’s responsibilities as a public body and demonstrate value for money.

Service Requirements

The Town Council is inviting suitably experienced contractors to submit proposals. Contractors should be approved by Caerphilly County Borough Council to work on their streetlights. The Christmas Lights are in situ for a period of 7 weeks from mid November to early January and then removed to storage until the next Christmas season. The Town Council owns 60 figurines /motifs, of which 51 are installed on lamp posts (all with connectors), and 1 feature seasonal sign “Nadolig Llawen” on the Twyn Community Centre leaving 9 spares. The contractor will supply and erect a 25 foot specimen Christmas Tree and remove for composting at the end of the Christmas period. The Christmas Tree is located in an existing pocket in front of the Twyn Community Centre and will be dressed with string lights from existing stock. A schedule of locations is attached.

The contractor will be responsible for carrying out annual PAT testing on all the lights and providing a report to the Town Council with recommendations in respect of repairs / replacements. Most the lights are efficient LED units. Energy is by an unmetered supply agreement with National Grid.

The contractor will be responsible for providing inventory information to National Grid on behalf of the Town Council to enable consumption to be assessed. The Town Council will remain responsible for paying the energy supplier directly.

The contractor will provide personnel to assist with the switch on of the lights on 20 November 2026. All lights operate on timers between 4.00pm and midnight. A call out service will be required to respond to reports of failed lights. As necessary the contractor will liaise with the Caerphilly County Borough Council as both streetlighting authority and highway authority. The contractor will be responsible for arranging transport to safe and secure storage of all the lights once they are taken down in January.

Contract Period

The contract will be for 2026 with the option to extend for further two years (2027,2028). The tender sum should be fixed for 2026. For 2027 and 2028 the Town Council will negotiate any uplift in costs due to inflation based on CPI in September 2027, and September 2028.

Tender Evaluation

The contract will be awarded to the most economically advantageous tender. For the avoidance of doubt the Town Council is not obliged to accept the lowest or any tender. The decision to award any contract is reserved to the Town Council.

The evaluation will comprise three stages:

Stage 1 – Compliance (pass / fail)

Stage 2 – Quality (30%)

Stage 3 – Price (70%)

Stage 1 Compliance

Tenders will be subject to an initial check to confirm they have been submitted on time and all the information requested has been included. Tenders that pass this stage will be subject to detailed evaluation as set out below.

Stage 2 Quality

The following method statements should be submitted demonstrating how each requirement will be met.

1 Mobilisation – provide the proposed approach and methodology of pre commencement activities. Demonstrate access to plant and equipment for installations including cherry pickers.

2 Health and Safety – Provide the proposed approach and method statement for managing health and safety on site and during storage. Include company safety policies. Provide evidence of approval to work on Caerphilly County Borough Council (CCBC) streetlights, to include:

- G39 Certificate and Safe Isolation for all staff employed whilst working on any electrical equipment owned by CCBC, demonstrating competency whilst working on or near National Grid supply network

- The contractor must have ASLEC or NICEIC membership and provide electrical training certificates for all staff employed whilst working on or near electrical equipment owned by CCBC

- HERS (Highways Electrical Registration Scheme) accreditation

- Street works chapter 8 training certificates for all staff employed whilst working on CCBC highways

- MEWP (Mobile Elevating Work Platform) training certificates for all staff employed whilst working at height on any equipment owned by CCBC

- All electrical equipment erected on or attached to lighting columns owned by CCBC must be accompanied by relevant electrical testing certification,  including certification for the person undertaking the testing works

- The electricity supply to the festive lighting must be low voltage

The Town Council is the Client under the Construction (Design and Management) Regulations 2015 (CDM 2015) and is responsible for ensuring arrangements are in place for managing health and safety throughout the contract and that the contractor employs competent, trained, and accredited staff to meet all the requirements outlined above. The contractor must comply with their obligations under the CDM Regulations.

3 Risk Management – Identify specific risks that are anticipated, how it is proposed to manage them and include proposed Risk Register. Include evidence of Public Liability (minimum £10 million) and Employer Liability Insurance.

4 Consultation – Outline consultation proposed with National Grid, Caerphilly County Borough Council (Streetlighting and Highways) and any other bodies. Outline relationships with any Christmas lighting suppliers.

5 Quality Control – Provide details of quality assurance and quality control proposals. This should cover ensuring lights operate fault free during the Christmas period. Certification of installations to meet regulations for festive lighting.

6 Programme Management – Ensure efficient programme and adherence to timescales given the fixed date for the switch on event, and the need to remove lights to storage following the Christmas period. Identify programme risks and how they will be managed.

The quality evaluation carries 30 points based on the submissions / answers provided to the method statements. Each method statement will be awarded up to 5 points and assessed on the following basis:

5 points 		Excellent, response exceeds requirements

4 points		Good, response meets all requirements

3 points 		Satisfactory, complete to all minimum standards

2 points	Less than satisfactory, fails to provide adequate information

1 point	Poor, fails to meet minimum requirement

Stage 3 Price

The pricing schedule should be completed and submitted as part of the Tender return.

Tender sum		70 points

For the Tender sum the contractor with the most competitive price will receive the maximum points available. Each remaining contractor’s price will be awarded a score based on the percentage difference between their price and that of the most competitive price.

Tenders will not awarded negative scores and if this should arise will be awarded nil points.

The Town Council reserves the right to disregard / reject any tender that is priced abnormally low. The scores achieved for both quality and price will be added together to give an overall score. The overall scores will then be used to rank the tender submissions.

Supporting Information

Schedule 1

Lamp post locations for the Christmas Lights. (Note one motif, the feature “Nadolig Llawen” sign is mounted on the Twyn Community Centre. The Christmas Tree is located on the raised area in front of the Twyn Community Centre for the Christmas period and is then removed and composted. Power for the sign and the Christmas Tree lights is from the Twyn Community Centre).

Schedule 2

Tender timetable

Schedule 3

Pricing Schedule to be returned with tender submission. Failure to return Pricing Schedule in the format requested will result in a non compliant tender.

Schedule 4

Checklist of information to be submitted.

Tender Submission

The tender submission must be received by the Town Council no later than 12 noon on 29 May 2026. Late tenders will not be accepted. Tenders are to be returned by post in a sealed envelope and clearly marked “Tender” to:

Town Clerk

Caerphilly Town Council

The Twyn Community Centre

The Twyn

Caerphilly CF83 1JL

Any queries concerning this tender should be addressed to the Town Clerk by email to caerphillytowncouncil@outlook.com before the closing date for tender submissions. As this an open tender any additional information provided to a potential contractor will be posted on the Town Council website.

PGD April 2006

Schedule 1

Locations of Christmas Lights Motifs / Figurines

Twyn Community Centre

Feature “Nadolig Llawen” sign

Christmas Tree Lights (new lights purchased in 2025). Annual specimen tree located in front of Twyn Community Centre

Lamp Post Locations

Castle Street Cenotaph area LP No WT67

Castle Street Cenotaph area LP No WT68

Castle Street Cenotaph area LP No WT69

Castle Street Cenotaph area LP No WT70

Castle Street (between 2 sets of traffic lights) LP No WT61

Castle Street (traffic lights) LP No WT62

Castle Street LP No WT63

Castle Street (opposite Coral) LP No WT64

Castle Street (outside JCP Solicitors) LP No WT65

Castle Street (opposite WH Smith) LP No WT66

Castle Street Hill LP No WT106

Castle Street Hill LP No WT107

Castle Street Hill LP No WT108

Castle Street Hill LP No WT109

Castle Street (opposite Job Centre) LP No WT111

Castle Street (next to Job Centre) LP No WT112

Castle Street (opposite Tony’s Tackle LP No WT113

Ton y Felin Road LP No WT44

Ton y Felin Road LP No WT75

Ton y Felin Road LP No WT226

Nantgarw Road LP No WT117

Bedwas Road (entrance Tonyfelin Medical Centre) LP No WT54

Bedwas Road LP No WT55

Bedwas Road (Gym) LP No WT56

Bedwas Road LP No WT57

Bedwas Road LP No WT58

Bedwas Road (entrance Castle Court car park) LP No WT59

Market Street (Boar’s Head Hotel) LP No WT72

Market Street (Brinsons) LP No WT76

Market Street (Fussells) LP No WT77

Cardiff Road (railway bridge) LP No WT88

Cardiff Road (railway bridge) LP No WT89

Cardiff Road (opposite Wetherspoons) LP No WT90

Cardiff Road LP No WT92

Cardiff Road LP No WT93

Cardiff Road LP No WT94

Cardiff Road LP No WT98

Cardiff Road (St Davids Hospice) LP No WT99

Cardiff Road LP No WT100

Cardiff Road (NatWest) LP No WT101

Cardiff Road LP No WT102

Cardiff Road LP No WT103

Cardiff Road (Barclays) LP No WT105

Cardiff Road (junction with Twyn) LP No (possibly WT1125)

Pentrebane Street LP No WT911

Pentrebane Street LP No WT912

The Twyn (Library) LP No WT919

The Twyn (Library) LP No WT920

Bartlett Street LP No WT84

Bartlett Street LP No WT85

Bartlett Street LP No WT86

There are 51 lamp post mounted motifs / figurines.

April 2026

Schedule 2

Tender Timetable

13.4.26 	Tender posted on website and alerts sent to selected companies

13.4.26 to 28.5.26 	Tender period

29.5.26		Closing date for return of tenders

1.6.26		Tender opening

Complete tender evaluation by end of June and report to Town Council by latest 20.7.26

20.7.26		Town Council decision on tender award

21.7.26		Notification issued on tender award

Caerphilly Town Council

Tender for the installation, removal, and storage of Christmas lIghts

Pricing Schedule

1 Supply, erection, and removal 25 foot specimen Christmas Tree

2 Installation of 51 motifs on designated lamp posts

3 Installation of seasonal sign on Twyn Community Centre

4 Installation of Christmas Tree lights

5 Annual PAT testing 60 motifs, seasonal sign, and Christmas Tree lights

6 Supply of inventory information to National Grid

7 Personnel attendance at switch on event

8 Removal of 51 motifs, seasonal sign and Christmas Tree lights

9 Transport and storage 60 motifs, seasonal sign and Christmas Tree lights

10 Call out charges to attend failed lights during Christmas period

Total (ex Vat)

(Note call out charges are excluded from total tender sum)

Schedule 4

Checklist of Information required for tender

Company information including registered address, no of employees, latest annual accounts, experience with festive lighting, membership of relevant trade bodies (eg NICEIC), key contact person

No of individual personnel who will install and remove Christmas lights and for each person their training (eg working at height from cherry picker), qualifications (eg electrical) and experience

Evidence of current approval to work on Caerphilly County Borough Council streetlights (ensure that health and safety competencies and accreditations listed under Health and Safety are comprehensively addressed)

Reference site where company has installed similar town Centre Christmas lights

Two client references

Mobilisation method statement

Health and safety method statement

Risk management / risk register

Consultation arrangements

Quality assurance and quality control proposals

Programme management

Insurance cover (public liability and employee liability

Pricing Schedule